## Slide 1: Monitoring and measuring energy consumption in buildings.
Course Supervisor:
Dr. ZEMMIT Abderrahim
Prepared by:
Djerad Manar and Anhar.
People's Democratic Republic of Algeria
Ministry of Higher Education and Scientific Research
University of M'sila
Faculty of Technology - Department of Electrical Engineering

## Slide 2: outline
Introduction
conclusion
Types of Monitoring Systems
Benefits of Energy Monitoring
Methods of Measuring Energy Consumption
Energy Management Software Solutions
Challenges in Energy Monitoring
Commonly Monitored Parameters

## Slide 3: introduction
Monitoring and measuring energy consumption in buildings is crucial for improving energy efficiency, reducing operational costs, and minimizing environmental impact. With buildings responsible for a large share of global energy consumption and carbon emissions, energy monitoring helps identify inefficiencies, optimize system performance, and track sustainability goals.

## Slide 4
The Importance of Energy Monitoring in Buildings
Buildings’ Energy Footprint: Buildings contribute to about 30-40% of global energy use and greenhouse gas emissions.
Why Monitor? Understanding consumption is key to reducing costs, improving efficiency, and achieving sustainability goals.

## Slide 5: Benefits of Energy Monitoring
Cost Savings
Cost Savings: Reduces utility bills by identifying inefficiencies and optimizing system performance.
Environmental Impact
Helps lower carbon emissions, supporting green initiatives.
Operational Efficiency
Identifies maintenance needs early, reducing downtime.
Visuals
Icon for each benefit; bar graph showing cost reductions from energy monitoring

## Slide 6: What Parameters Are Monitored?
Electricity Consumption: Major focus due to lighting, HVAC (heating, ventilation, and air conditioning), and appliances.
Heating & Cooling Loads: Helps balance temperature controls for efficiency.
Water Heating: Particularly important for buildings with high hot water demand (hotels, hospitals).
Lighting: Especially in commercial buildings, lighting can represent up to 40% of energy use.
Renewable Energy: Measures contribution from renewable sources, tracking self-sufficiency.

## Slide 7: Types of Monitoring Systems
Submetering Systems: Meters at the device or area level for detailed data.
Smart Meters: Provides real-time data; connected to utility networks for remote monitoring.
Building Management Systems (BMS): Centralized control of HVAC, lighting, and security.
IoT Sensors: Small sensors in various zones, collecting data continuously for advanced analytics.
Visuals: Diagram of a BMS, highlighting connections to various building systems; images of smart meters and sensors

## Slide 8: Technologies Supporting Energy Monitoring
Wireless Communication Protocols: LoRa, Wi-Fi, and Bluetooth Low Energy (BLE) connect devices wirelessly.
Data Analytics & Machine Learning: Analyzes consumption patterns and supports predictive maintenance.
Cloud-Based Platforms: Centralize data collection, allowing remote monitoring and control.
Artificial Intelligence: AI algorithms optimize HVAC settings and lighting based on occupancy.
Visuals: Flowchart of data from sensors to cloud analytics; icons for AI and machine learning

## Slide 9: Methods of Measuring Energy Consumption
Direct Measurement: Smart meters and submeters provide precise usage data.
Indirect Measurement: Uses factors like occupancy and environment to estimate consumption.
Benchmarking & Baselines: Comparison with historical or similar buildings’ data to track progress.
Modeling and Simulation: Simulations of energy use help in planning upgrades and retrofits.
Visuals: Graph showing historical vs. current energy use; sample building energy simulation model

## Slide 10: Energy Management Software Solutions
Software Solutions for Energy Monitoring and Analysis
Automated Energy Management Platforms: Aggregates data, offers analytics and reporting (e.g., dashboards).
Dashboard and Reporting Tools: Visualizes data trends, highlights inefficiencies, and tracks savings.
Mobile Applications: On-the-go monitoring for facility managers, enabling faster adjustments.
Visuals: Screenshot of a sample energy dashboard; example of mobile monitoring app interface

## Slide 11: Challenges in Energy Monitoring
Challenges Faced in Implementing Monitoring Systems
High Initial Costs: Installation of sensors, meters, and software requires upfront investment.
Data Integration: Merging data from different systems (e.g., HVAC, lighting, security) can be complex.
Data Security and Privacy: Protecting data from connected devices and cloud storage.
Visuals: List with icons; diagram illustrating integration challenges among different building systems

## Slide 12: conclusion
In summary, energy monitoring in buildings helps reduce costs, boost efficiency, and support sustainability goals. With tools like smart meters and data analytics, building managers can make informed, real-time decisions to optimize energy use and environmental impact.

## Slide 13: Thanks for your attention